## DDF Maintenance Requests 2015
Date req | Name | WO # | Type of Request | Floors | Sub-Location | Description of Problem | Specials Comments | Mechanic | OT hr | Date Completed | Security | Job Completed
2015-12-03 |  | 12-055 | EQ | K | bakery | lubricated oven and run for 15 min | .50 | Dow |  | 2015-12-03 |  | TRUE
2015-12-07 |  | 12-118 | EQ | K | basement | repair blender, found defective motor, board are burnt out | 1.50 | Ramon P |  | 2015-12-07 |  | TRUE
2015-12-07 |  | 12-119 | EQ | K | basement | walkins 4 & 6 smell burning. Checked them, they need to do the pms | .50 | Rey |  | 2015-12-07 |  | TRUE
2015-12-07 |  | 12-120 | EQ | K |  | trouble shoot the Gaylord hood sytem, to be continued! | 7 | JesusS/RubenG |  | 2015-12-07 |  | TRUE
2015-12-07 |  | 12-121 | EQ | K |  | assisted trouble shooting the gaylord hood system, tested too | 1.5 | Santos |  | 2015-12-07 |  | TRUE
2015-12-08 |  | 12-139 | EQ | K |  | continued w/Gaylord hood system. Fixed avalve for the steam kettle | 4 | Ramon/RubenG |  | 2015-12-08 |  | TRUE
2015-12-08 |  | 12-140 | EQ | K |  | dishwasher no filing 2nd tank. Changed relays, checked all connections | 1.25 | Sal/Danny/Ramon |  | 2015-12-08 |  | TRUE
2015-12-09 |  | 12-168 | EQ | K |  | repaired 3 bread carts | 4.50 | Dow |  | 2015-12-09 |  | TRUE
2015-12-09 |  | 12-169 | EQ | K |  | trouble shoot Gaylord system, parts on order | 2 | Ramon/JesusS |  | 2015-12-09 |  | TRUE
2015-12-09 |  | 12-170 | EQ | K |  | dishwasher booster inoperable. Replaced fuses on hot water booster | .25 | Ramon/Sal |  | 2015-12-09 |  | TRUE
2015-12-09 |  | 12-171 | EQ | K |  | dishwasher still not working. Reading the wiring diaphram, rinse cylce | 1 | Sal/Danny/Ramon |  | 2015-12-09 |  | TRUE
2015-12-10 | Jesse | 12-191 | EQ | K |  | exhaust fans out. Tried to find breakers 64 & 65 for fan, kitchen supply checked belts on fan | .25 | Sal/Danny/Santos |  | 2015-12-10 |  | TRUE
2015-12-11 |  | 12-209 | EQ | K |  | large steam kettle not working. Added water to steam kettle, stop leak in 1st fl | 1 | Sal/Danny |  | 2015-12-11 |  | TRUE
2015-12-14 |  | 12-221 | EQ | K |  | assisted Sal troubleshooting the dishwasher, found defective water level switch | 2 | Santos |  | 2015-12-14 |  | TRUE
2015-12-14 |  | 12-222 | EQ | K |  | drain pipe for freezer #4 fell off. Clean, replaced broken condensation line | .50 | Danny |  | 2015-12-14 |  | TRUE
2015-12-16 | Jesse | 12-266 | EQ | K | bakery | repaired bread carts | 7 | Dow |  | 2015-12-16 |  | TRUE
2015-12-16 | Jesse | 12-281 | EQ | K |  | ice machine's panel fell out. Need pms, cleaned evaporator, checked electrical | 1 | Rey |  | 2015-12-16 |  | TRUE
2015-12-17 |  | 12-290 | EQ | K |  | trouble shoot big steam kettle found defective temperature board | 4.50 | Ramon P |  | 2015-12-17 |  | TRUE
2015-12-17 |  | 12-291 | EQ | K |  | oven not heating up. Trouble shoot checked connections,removed replaced sensor | 4 | Sal |  | 2015-12-17 |  | TRUE
2015-12-17 |  | 12-292 | EQ | K |  | ice machine not despensing ice. Cleaned the condenser coil, run unit in self cleaning | 1.50 | Rey |  | 2015-12-17 |  | TRUE
2015-12-17 |  | 12-311 | EQ | K | boiler rm | continued with bread carts | 2.50 | Dow |  | 2015-12-17 |  | TRUE
2015-12-18 |  | 12-318 | EQ | K | bakery | replaced broken pin in fish oven and filled w/water steam kettle | 3.75 | Ramon |  | 2015-12-18 |  | TRUE
2015-12-18 |  | 12-320 | EQ | K |  | adjusted thermostat's temperature in food cart, motor,fan pending parts | 1.50 | Robert |  | 2015-12-18 |  | TRUE
2015-12-18 |  | 12-321 | EQ | K |  | continued repairing & replacing wheels on bread carts | 3 | Dow |  | 2015-12-18 |  | TRUE
2015-12-18 |  | 12-322 | EQ | K |  | small kettle not heating up. Filled with water | .50 | Ruben P |  | 2015-12-18 |  | TRUE
2015-12-20 |  | 12-341 | EQ | K |  | kool-aid kettle's handle is broken. Replaced handle | .50 | Dow |  | 2015-12-20 |  | TRUE
2015-12-27 |  | 12-416 | EQ | K |  | dishwasher not draining. Removed & unclogged drain hose | .75 | Dow |  | 2015-12-27 |  | TRUE
2015-12-29 | Moffat | 12-427 | EQ | K | bakery | oven's handle is loose. Replaced screw, tighten up all screw on handles | 3 | Ramon |  | 2015-12-29 |  | TRUE
2015-12-29 |  | 12-449 | EQ | K |  | reset & cleaned the ice machine | 1.25 | Rey |  | 2015-12-29 |  | TRUE
2015-12-21 | Shakeisha | 12-474 | EQ | K |  | replaced burned thermostat in the big steam kettle, tested ok | 6.50 | RubenP/RamonP |  | 2015-12-21 |  | TRUE